2014 Annual Drinking Water Quality Report

(Consumer Confidence Report)

City of La Vernia Water System

Phone Number:  830-779-4541

OUR DRINKING WATER

IS REGULATED

This report is a summary of the quality of the water we provide our customers.  The analysis was made by using the data from the most recent U.S. Environmental Protection Agency (EPA) required tests and is presented in the attached pages.  We hope this information helps you become more knowledgeable about what’s in your drinking water.

PUBLIC PARTICIPATION

OPPORTUNITIES

2ND Thursday of each month

Time:  6:30 P.M.

Location:  La Vernia City Hall

102 E. Chihuahua Street

Phone Number:  (830)  779-4541

To learn about future public meeting (concerning your drinking water), or to request to schedule one, please call us at the number provided above.

SPECIAL NOTICE

Required Language for ALL

Community Public Water Supplies:

You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly or immunocompromised persons such as those undergoing chemotherapy; those who have undergone organ transplants, those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders can be particularly at risk from infections.  You should seek advice about drinking water from your physician or health care provider.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline at (800) 426-4791.

SOURCE OF DRINKING WATER

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick-up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

-Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

-Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

-Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

resresidentdkresidential uses.

-Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

-Radioactive contaminants, which can be naturally-occurrring or be the r

-Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

-Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

En Español

Este informe incluye información importante sobre el agua potable. Si tiene preguntas o comentarios sobre este informe en español, favor de llamar al tel.  (830)779.4541.

-para hablar con una persona bilingüe en español.

Where Do We Get Our Drinking Water?

The source of drinking water used by the City of La Vernia Water System is ground water from the Wilcox Aquifer.  The TCEQ completed an assessment of our source water and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for our water system are based on this susceptibility and previous sample data. Any detections of these contaminants may be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system, contact the Director of Public Works for the City of La Vernia, or you can review the Source Water Susceptibility Assessment at the TCEQ at http://dww.tceq.state.tx.us/DDW/.

ALL Drinking Water May Contain Contaminants

When drinking water meets federal standards there may not be any health benefits to purchasing bottled water or point of use devices.  Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791).

Secondary Constituents

Many constituents (such as calcium, sodium, or iron) which are often found in drinking water, can cause taste, color, and odor problems.  The taste and odor constituents are called secondary constituents and are regulated by the State of Texas, not the EPA.  These constituents are not causes for health concern.  Therefore, secondaries are not required to be reported in this document but they may greatly affect the appearance and taste of your water.

Required Additional Health Information for Lead

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  This water supply is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water testing methods and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Abbreviations

- NTU – Nephelometric Turbidity Units

- MFL – million fibers per liter (a measure of asbestos)

- pCi/L – picocuies per liter ( a measure of radioactibvity)

- ppm - parts per million, or milligrams per liter (mg/l)

- ppb - parts per billion, or micrograms per liter

- ppt - parts per trillion, or nanograms per liter

- ppq - parts per quadrillion, or pictograms per liter

| Definitions | The following tables contain scientific terms and measures, some of which may require explanation. |
| --- | --- |
| Maximum Contaminant Level Goal or MCLG: | The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |
| Maximum Contaminant Level or MCL: | The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| Maximum residual disinfectant level goal or MRDLG: | The level of a drinking water disinfectant below which there is no know or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| mrem: | Millirems pre year (a measure of radiation absorbed by the body). |
| ppb: | Micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water. |
| na: | Not applicable. |
| Avg: | Regulatory compliance with some MCLs are based on running annual average of monthly samples. |
| ppm : | Milligrams per liter or parts per million – or one ounce in 7,350 gallons of water. |

2011	Regulated Contaminants Detected

Lead and Copper

Definitions:

Action Level Goal (ALG): The level of a contaminant in drinking water below which there is no known or expected risk to health. ALGs allow for a margin of safety.

Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

| Lead and Copper | Date Sampled | MCLG | Action Level (AL) | 90th Percentile | # Sites Over ALL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copper | 2008 | 1.3 | 1.3 | .471 | 0 | ppm | N | Erosion of natural deposits; Leaching form wood preservatives; Corrosion of household plumbing systems |
| Lead | 2008 | 0 | 15 | 1.00 | 0 | ppb | N | Corrosion of household plumbing systems; Erosion of natural deposits. |

| Year | Disinfectant | Average Level | Minimum Level | Maximum Level | MRDL | MRDLG | Unit of Measure | Source of Chemical |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2011 | Chlorine | 1.16 | 0.34 | 2.44 | 4.0 | <4.0 | ppm | Disinfectant used to control microbes |

Regulated Contaminants

| Disinfectants and Disinfection By-Products | Collection Date | Highest Single Sample | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Haloacetic Acids (HAA5)* | 2011 | 6.7 | 4.2-6.7 | No goal for the total | 60 | ppb | N | By-product of drinking water cholorination |

| Total Trihalomethanes (TThm)* | 2011 | 31.2 | 19.4-31.2 | No goal for the total | 80 | ppb | N | By-product of drinking water cholorination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Barium | 02/23/2009 | 0.04 | 0.0231-0.04 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge for metal refineries; Erosion of natural deposits |
| Fluoride | 02/23/2009 | 0.25 | 0.21-0.25 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories |
| Nitrate [ measured as Nitrogen] | 2011 | 0.43 | 0-0.43 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks sewage; Erosion of natural deposits |

| Selenium | 02/23/2009 | 3.4 | 0-3.4 | 50 | 50 | ppb | N | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Radioactive | Collection Date | Highest Level Detected | Range of Level Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Beta/photon emitters | 02/23/2009 | 6.6 | 0-6.6 | 0 | 50 | pCi/L | N | Decay of natural and man-made deposits |

Coliform Bacteria

| Maximum Contaminant level Goal | Total Coliform Maximum Contaminant Level | Highest No. of Positive | Fecal Coliform or E. Coli Maximum Contaminant Level | Total No. of Positive E. Coli or Fecal Coliform Samples | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | One positive monthly sample. | One sample was positive |  | 0 | N | Naturally present in the environment |

Violations Table

Note on Violations

TCEQ recently completed a review of Public Notice violations that were historically present in our database. This review was done at the request of the Environmental Protection Agency and was triggered by the, TCEQ migration to the Safe Drinking Water Information System (SDWIS). Following EPA guidelines TCEQ returned to compliance many PN violations that had existed, but may not have been reported on a prior year CCR. We strongly encourage you to check Drinking Water Watch (http://dww.tecq.texas.gov/DWW/) for the current status of any violations displayed on this page.

Total Coliform

Coliforms are bacteria that are naturally present in the environment and used as an indicator that other, potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems.

| Violation Type | Violation Begin | Violation End | Violation Explanation |
| --- | --- | --- | --- |
| MONITORING (TCR)ROUTINE MINOR | 5/01/2011 | 5/31/2011 | We failed to complete all the required tests of our drinking water for the contaminant and period indicated. |